## Slide 1: Hyperelasticity and Parameter Calibration
Hao Gao
School of Mathematics and Statistics
University of Glasgow
Notes: 30 min Hao Gao: Hyperelasticity and Parameters: fibre-reinforced material, examples of typical SEFs, residual stress.

## Slide 2: Some Examples of Anisotropic Material
Bamboo/wood
Reinforced rubber
Magic angle - Wikipedia
Concrete with steel mesh
Skins

## Slide 3: Skin Constitutive Modelling
Tong & Fung [1976]
Nonlinear
Anisotropic

## Slide 4: Modelling Fibre Reinforcement (one family)
such as
and
Transversely isotropic
with
The Cauchy stress tensor

## Slide 5: Layered Arterial Wall with Two Families of Fibres
(Holzapfel, et al 2000)

## Slide 6: Example: Stiffness Comparison
Media
Adventia
Aged coronary
(Holzapfel, et al 2000)

## Slide 7: Invariants for Two Families of Fibres
In addition to , we further introduce
The strain energy function can be defined as
The Cauchy stress tensor
with

## Slide 8
Pseudo-Invariant

## Slide 9: Example: The Holzapfel-Ogden-Gasser Model
Holzapfel, G. A., Gasser, T. C., & Ogden, R. W. (2000). Journal of elasticity, 61, 1-48.
,

## Slide 10: Virtual Experiment: Uniaxial Test
B
m
m’
+
+

## Slide 11: Virtual Experiment: Uniaxial Test

## Slide 12: Excluding Compressed Collagen Fibres
Introduce
Then we have
For collagen rich fibrous biological tissue, it is often reasonable to assume that the collagen fibres will not support compression, but only bear stretching.

## Slide 13: The Effects of Residual Stress on Elastic Response
Unloaded arterial ring showing compression of the inner layer (intima)

## Slide 14: 3D Residual Stresses

## Slide 15: Residual Stress
May not exist always
sits in
not associated with a deformation
not given by a constitutive law
no distinction between and

## Slide 16: Strain Energy Function with
Without preferred direction for reinforcement
With preferred direction for reinforcement M
Wang, H. M., et al. BMMB, 2014: 99–113

## Slide 17: Applications to Arteries
Circumferential residual stress distribution
Alastrué Victor, et al. "Assessing the use of the “opening angle method” to enforce residual stresses in patient-specific arteries." Annals of biomedical engineering 35 (2007): 1821-1837.

## Slide 18: Fitting to Experimental Data

## Slide 19: Transversely Isotropic Incompressible Material

## Slide 20: Fitting to Experimental Data
A competent strain energy function
Can fit to a particular tissue test
Can predict material behaviours under different loading conditions, in particular different from experimental tests
The basic concepts of Optimization
Minimization
“Objective Function”
(unknown constants)
Subject to: Constraints
Guan D, et al. 2019,doi:10.1007/s10237-019-01140-6

## Slide 21: Optimization Problem for Strain Energy Model Fitting
Minimization
(c1, c2, c3, etc)
Subject to: ci >g
ci material constants
g are the constraints
k data points
This problem is actually a nonlinear least-squares curve fitting problem, which can be solved with the Matlab function lsqnonlin.

## Slide 22: The Calibration Procedure
Biomechanical Testing:
Deformation State
Stress State
Experimental Stress
Experimental Deformation:
Stretch, F, C, E, f, etc
Optimization:
Minimize error between experimental and Constitutive Model stresses; Constitutive Constants are updated
Constitutive Model:
Postulate Model
Derive Stress State
Need Experimental Deformation as input
Stress predicted from material model
Microstructures (fibres, etc)

## Slide 23: All models are wrong, but some are useful
George Box
One of the great statistical minds of the 20th century
“shall not select the best-fitting model but shall select the best-predicting model.”
.. all models are approximations. Essentially, all models are wrong, but some are useful. However, the approximate nature of the model must always be borne in mind....
Book: Empirical Model-Building and Response Surfaces, 1987

## Slide 24: Model A vs Model B

## Slide 25: Model Complexity
Complexity: A model’s inherent flexibility that enables it to fit a wide range of data pattern

## Slide 26: Relationship between Goodness of Fit and Generalizability

## Slide 27: Akaike Information Criterion (AIC)
Trade-off between the goodness of fit and the simplicity of the model
A balance between the risk of overfitting and the risk of underfitting
The model that minimizes AIC should be preferred
Given a collection of models for the data, AIC estimates the quality of each model, relative to each of the other models.
https://en.wikipedia.org/wiki/Akaike_information_criterion#AICc

## Slide 28: Example: Mitral Valve Leaflets
Characterize material properties and collagens in heathy porcine MV
Chen, Shengda, et al. journal of the mechanical behavior of biomedical materials 111 (2020): 104011.
Possible strain energy functions
(2 para)
(3 para)
(4 para)
(3 para)
(3 para)
AIC

## Slide 29: Summary
Strain energy functions for two families of fibres
Excluding compressed fibres from a fibre reinforced material
Residual stress to achieve a more homogeneous stress distribution in various biological tissue, i.e. arterial wall
Parameter estimation from biomechanical tests using least-square fitting
Model selection using AIC to identify a proper strain energy function, avoiding over-fitting or under-fitting

## Slide 30: Further Considerations
Fibre dispersion
Fibre recruitment
Crosslink
Muscle fibres

## Slide 31: How to formulate
(Residual stress cannot be supported by an isotropic body)